## Slide 1: Energy Management Project
Lorenzo Mascia
Feasibility Study of CHP and Wind Power Systems

## Slide 2: Introduction
Goal: Achieve favorable technical and economic indicators.
Feasibility study for an energy system combining CHP (Combined Heat and Power) and wind power.
Location: Benevento, Italy.
Optimization based on investment costs, turbine height, electrical power, and gas engine efficiency.

## Slide 3: User Load Analysis
Analysis of hourly electrical and thermal power loads.
Thermal load consistently above 600 kW.
CHP to provide thermal load, wind turbines to cover additional energy needs.
Electrical power load
Thermal power load

## Slide 4: User Load Analysis
Analysis of hourly electrical and thermal power loads.
Thermal load consistently above 600 kW.
CHP to provide thermal load, wind turbines to cover additional energy needs.
Electrical power load
Thermal power load

## Slide 5: User Load Analysis
Analysis of hourly electrical and thermal power loads.
Thermal load consistently above 600 kW.
CHP to provide thermal load, wind turbines to cover additional energy needs.
Electrical power load
Thermal power load

## Slide 6: User Load Analysis
Daily averages, minimum, and maximum loads

## Slide 7: Reference System Description
Current system analysis:
14100

## Slide 8: Reference System Description
Current system analysis:

## Slide 9: Proposed CHP System
Two CHP solutions analyzed. Solution 2 chosen for better efficiency and cost savings.
Two CHP solutions analyzed:
  Solution 1: Jenbacher ICE 312 (600 kW).
  Solution 2: Jenbacher ICE 316 (800 kW).

## Slide 10: Proposed CHP System
Jenbacher ICE 312

## Slide 11: Proposed CHP System
Jenbacher ICE 316

## Slide 12: Proposed CHP System
Jenbacher ICE 316

## Slide 13: Proposed CHP System

## Slide 14: Proposed CHP System
[M]

## Slide 15: Proposed Wind System
Three wind turbines analyzed:
  Wind speed data from Benevento, Italy.

## Slide 16: Proposed Wind System
1)

## Slide 17: Proposed Wind System
2)

## Slide 18: Proposed Wind System
3)

## Slide 19: Proposed Wind System
Vestas V117/4000 chosen:
  Higher Heq (1386).
  Payback time: 5.4 years.
  Unit energy cost: €0.09/kWh.
  Total revenue: €1.28M.

## Slide 20: CHP + Wind
Combination of CHP and wind system optimized for energy savings and cost efficiency.
Jenbacher ICE 316
+
Vestas V117/4000

## Slide 21: CHP + Wind
Combination of CHP and wind system optimized for energy savings and cost efficiency.
Jenbacher ICE 316
+
Vestas V117/4000
Results:
  Primary energy savings: 18.95%.
  CO₂ reductions: 8,723 t.
  Total installation costs: €5.65M.
  Annual savings: €0.96M.
  Payback period: 5.88 years.
  Net present value: €6.32M.
  Profitability index: 2.12
  Internal rate of return: 16.15%.